ECE 4370: Power Systems Analysis

Catalog Description

ECE 4370 Power Systems Analysis (4)

This course follows the discussions from the first course in power systems. This course focuses on power flow, symmetrical components, faulted system analysis, and protection schemes. Prerequisites: ECE 3370.

Prerequisite by Topic

Three-phase Circuit Analysis

Complex Electric Power

Per-unit Systems

Transformers

Complex Arithmetic

Units and Contact Time

4 semester units. 3 units lecture (150 minutes), 1 unit lab (150 minutes).

Type

Elective for Electrical and Computer Engineering students

Required Textbook

“Power Systems Analysis and Design,” J. Duncan Glover, Mulukutla S. Sarma, Thomas Overbye.

Recommended Textbook and Other Supplementary Material

“Power System Analysis,” Hadi Saadat.

Coordinator(s)

Saeed Jafarzadeh

Student Learning Outcomes

This one-semester second course in power systems provides a fundamental understanding of power systems faults and protection schemes.

ABET Outcome Coverage

The course maps to the following performance indicators for Electrical and Computer Engineering (EAC/ABET):

EAC 3c (PIc3): Consider alternative designs and choose the optimal solution.

Examination and homework questions will require application of mathematical techniques.

EAC 3g (PIg2): Prepare and deliver oral presentations.

Final examination includes an oral presentation of research findings.

EAC 3j (PIj1): Carry out research on engineering topics.

The course requires research on an engineering topic related to power systems.

Lecture Topics and Schedule

Introduction and Review					Week 1-2

Chapter 6		Power Flows							Week 3-5

Chapter 7		Symmetrical Faults						Week 6-7

Chapter 8		Symmetrical Components					Week 8-10

Chapter 9		Unsymmetrical Faults						Week 11-13

Chapter 10		System Protection						Week 14-15

Design Content Description

Approach: The design component is provided through lecture materials, laboratory exercises, homework, and tests.

Lectures: 80%

Labs: 20%

Prepared By

Saeed Jafarzadeh on July 20th 2014.

Approval

Approved by CEE/CS Department on

Effective